A&C - Non-Conformance Report

Accreditation and Certification

Purpose:

In accordance with section 3.3.15 of the Unitywater ‘UW’ Accreditation and Certification ‘A&C’ Manual, a Statement of Alternative Solutions ‘SoAS’ must not be used by Registered Certifiers to communicate any SEQ Code non-conformances identified during the construction phase. Therefore, the appropriate format in which the Registered Certifier must communicate construction non-conformances with the approved design or the SEQ Code is by means of a Non-Conformance Report ‘NCR’. An NCR shall be created for any non-conformances identified during the construction phase and must be sufficiently detailed to ensure the UW Auditor is able to fully understand the non-conforming items and the justification. UW must be notified of the works in the form of an amendment to the approval or a variation as per section 3.7.1 of the UW A&C Manual. An NCR regarding the approved design or the SEQ Code must be approved by an RPEQ Engineer only.

# Application Details

| NCR Date: | [dd/mm/yyyy] |
| --- | --- |
| RPEQ Name: | [Full Name] |
| RPEQ No.: | [Number] |
| Street Address: | [Street Address], [Suburb], [Post Code] |
| Estate Name: (Where Applicable) | [Estate Name or N/A] |
| Stage Number: (Where Applicable) | [Stage Number or N/A] |

[RPEQ Engineer to number and give short title to each non-conforming item / justification. For documentation of additional Items, copy table and populate as required.]

| Description of Non-Conforming Items | Determination |
| --- | --- |
| Item 1 Example Only - delete prior to submission (Explain in detail what the non-conformance is? E.g. A number of sewer invert levels have been found to be outside of vertical +10mm, -50mm tolerance. The below values are difference from the tolerance (m): - G53 – BR1/51; DSIL: +0.032 - G54 – E1/54; DSIL: +0.038 - MS1/57 – E2/57; DSIL: -0.076 - G56 – E1/58; DSIL: +0.027 - MS/1 - 59-E2/59; DSIL: -0.170 - G58 - BR1/62; DSIL: +0.021 - G59 - MS1/63; USIL: -0.067, DSIL: -0.071 - MS1/63 - E2/63; USIL: -0.071, DSIL: -0.085 - G60 - BR1/65; DSIL: +0.030 | Example Only - delete prior to submission (Explain in detail what the corrective actions are? E.g. All line grades, excluding the lines listed in the table row left, are within tolerance to the design and maintain appropriate fall through the structures. Clearances between sewer line and services above are also maintained. These invert level differences are considered a minor non-conformance and will have minimal impact on the network. Propose to accept “as is”. |
|  | Unitywater Use Only: Satisfactory (Yes/No): Comments: |

| Description of Non-Conforming Items | Determination |
| --- | --- |
| Item 2 Example Only - delete prior to submission (Explain in detail what the non-conformance is? E.g. A number of sewer invert levels have been found to be outside of vertical +10mm, -50mm tolerance. The below values are difference from the tolerance (m): - G53 – BR1/51; DSIL: +0.032 - G54 – E1/54; DSIL: +0.038 - MS1/57 – E2/57; DSIL: -0.076 - G56 – E1/58; DSIL: +0.027 - MS/1 - 59-E2/59; DSIL: -0.170 - G58 - BR1/62; DSIL: +0.021 - G59 - MS1/63; USIL: -0.067, DSIL: -0.071 - MS1/63 - E2/63; USIL: -0.071, DSIL: -0.085 - G60 - BR1/65; DSIL: +0.030 | Example Only - delete prior to submission (Explain in detail what the corrective actions are? E.g. All line grades, excluding the lines listed in the table row left, are within tolerance to the design and maintain appropriate fall through the structures. Clearances between sewer line and services above are also maintained. These invert level differences are considered a minor non-conformance and will have minimal impact on the network. Propose to accept “as is”. |
|  | Unitywater Use Only: Satisfactory (Yes/No): Comments: |